[image: image1.png]


[image: image2.png]si

Na

My

‘Spectrum 3

o 1 2 3

Ul Scale 239 cts Cursor: 0,000 keV.

0
ke














Sample: contaminated (data collected from area without contamination)











Label : 	Spectrum 3


Collected :	7-May-2004 02:50 PM


Livetime (s) :	100.00


Real time (s) :	107.25


Detector : 	Silicon


Window : 	SATW





Tilt (deg) :	 0.0


Elevation (deg) :	40.0 


Azimuth (deg) : 	0.0





Magnification : 	30000 X


Accelerating voltage ( kV ) : 	5.00


Process time : 	6








Sample is unpolished X-ray corrections may be approximate.


Sample is uncoated


The element used for optimization was Silicon








Spectrum processing : 


Peak possibly omitted : 0.253 keV





Processing option : All elements analyzed (Normalised)


Number of iterations = 2





Standard :


O    SiO2   1-Jun-1999 12:00 AM


F    MgF2   1-Jun-1999 12:00 AM


Na    Albite   1-Jun-1999 12:00 AM


Mg    MgO   1-Jun-1999 12:00 AM


Si    SiO2   1-Jun-1999 12:00 AM





Element�
App�
Intensity�
Weight%�
Weight%�
Atomic%�
�
�
   �
Conc.�
Corrn.�
 �
Sigma�
 �
�
�
O K�
13.36�
2.5659�
52.54�
1.60�
64.19�
�
�
F K�
0.37�
0.9155�
4.05�
1.28�
4.17�
�
�
Na K�
1.39�
1.8910�
7.39�
0.79�
6.29�
�
�
Mg K�
0.34�
1.2950�
2.62�
0.60�
2.11�
�
�
Si K�
3.72�
1.1244�
33.40�
1.46�
23.25�
�
�
�
�
�
�
�
�
�
�
Totals�
�
�
100.00�
�
�
�
�












