## Slide 1: Status of ICAL RPCs
B.Satyanarayana, TIFR, Mumbai
INO Collaboration

## Slide 2: Factsheet of ICAL detector
No. of modules | 3
Module dimensions | 16m × 16m × 14.5m
Detector dimensions | 48.4m × 16m × 14.5m
No. of layers | 150
Iron plate thickness | 56mm
Gap for RPC trays | 40mm
Magnetic field | 1.3Tesla
RPC dimensions | 1,950mm × 1,840mm × 24mm
Readout strip pitch | 3 0mm
No. of RPCs/Road/Layer | 8
No. of Roads/Layer/Module | 8
No. of RPC units/Layer | 192
No. of RPC units | 28,800 (97,505m2)
No. of readout strips | 3,686,400

## Slide 3: Schematic of a basic RPC

## Slide 4: Parts for gas volume fabrication
Edge spacer
Gas nozzle
Glass spacer
Schematic of an assembled gas volume

## Slide 5: Stack of 1m × 1m RPCs

## Slide 6: Studying RPCs using muons

## Slide 7: Stack of 2m × 2m RPCs

## Slide 8: Studying long-term stability

## Slide 9: ICAL mini at VECC

## Slide 10: Studies on float glass

## Slide 11: Pickup panel development
Open
100Ω
51Ω
48.2Ω
47Ω
G-10 panel
Foam panel
Z0: Inject a pulse into the strip; tune the terminating resistance at the far end, until its reflection disappears.
Honeycomb panel

## Slide 12: Chamfering and engraving of glass

## Slide 13: Painting/curing of glass plates

## Slide 14: Automatic RPC gap making

## Slide 15: RPC holding tray
Max. deflection
4.4mm
Max. stress
8.2MPa
Spec.
5mm
FRP
25MPa
Fabricated tray
Down side view
Finite Element Analysis
Self weight + 100kg load
Extra thickness in selected sections
Three-line support

## Slide 16: RPC fabrication facility

## Slide 17: Current status
RPC detector R&D concluded quite a while ago. The RPC stacks are being used even for some physics studies.
Scaling up and industrial adaptation of lab technology – by an industry, is almost complete.
Extensive vendor development for material fabrication, process development, design of SPMs and for large scale production of RPCs.
Ready for engineering module.
Tenders for RPC production for engineering module are about to be floated.
Further fine-tuning of chamber design, operating parameters and maintenance related practices will continue.