First result from Glass spark chamber

[image: image1.png]4 stopped

1 500 my/div
i pos:  -1.500 ¥
o= e 00041 502 de

2 20.0 mi/div
pos 40.00 my
1.000:1  S0% dec

2,
¥ @
~1.0000 us, 0.000 s 1.0000 us
200 ns/div realtime Trigger Mode
current average std dev Edge

risetime (2) 435,905 ns  31.892 ns 12,994 ns
1 E-250.0 my




Note: The top trace is a muon trigger from a scintillator paddle telescope.

           The bottom trace is the response from glass spark chamber for the same. 

