## Slide 1: ICAL Instrumentation Challenges &/ Opportunities
B.Satyanarayana
TIFR, Mumbai

## Slide 2: ICAL detector

## Slide 3: Factsheet of ICAL detector

## Slide 4: Schematic of a basic RPC

## Slide 5: Honeycomb pickup panel
►Interconnection between RPC strips and preamp inputs

## Slide 6: HMC based preamplifier

## Slide 7: Post amplifier RPC pulse profile

## Slide 8: Cables & services routing

## Slide 9: Triggered DAQ scheme
Conventional architecture
Dedicated sub-system blocks for performing various data readout tasks
Need for Hardware based on-line trigger system
Trigger latency issues and how do we take care in implementation

## Slide 10: Data collector module
VME interface for data readout
9U × 400mm modules for efficient packaging
Receives data streams from fiber optic cables
Saves data in one of the two buffers
Reads buffers via VME bus
Also provides control for front-end systems

## Slide 11: Trigger system
Physicist’s mind decoded!
Autonomous; shares data bus with readout system
Modular and distributed architecture
For ICAL, trigger system is based only on topology of the event; no other measurement data is used
Huge bank of combinatorial circuits
Programmability is the key - FPGAs, ASICs are the players

## Slide 12: DAQ system requirements
Information to record on trigger
  Strip hit (1-bit resolution)
  Timing (< 500ps)
  Time Over Threshold (for time-walk correction)
Rates
  Individual strip background rates ~300Hz
  Event rate ~10Hz
On-line monitor
  RPC parameters (High voltage, current)
  Ambient parameters (T, P, RH)
  Services, supplies (Gas systems, magnet, low voltage power supplies, thresholds)

## Slide 13: Front-end specifications
No input matching circuit needed, HCP strips provide ~50Ω characteristic impedance
Avalanche mode, pulse amplitude: 2.5 -3mV
Gain (100-200, fixed) depends on the electronic noise obtainable
No gain needed if operated in streamer mode, option to by-pass gain stage
Rise time: < 500ps
Discriminator overhead: 3-4 preferable
Variable Vth for discriminator - ±10mV to ±50mV
Pulse shaping (fixed) 50-100nS
Pulse shaping removes pulse height information; do we need the latter?

## Slide 14: Functional diagram of the FE ASIC
Amp_out
8:1 Analog Multiplexer
Channel-0
Channel-7
Output Buffer
Regulated Cascode Transimpedance Amplifier
Differential Amplifier
Comparator
LVDS output driver
Regulated Cascode Transimpedance Amplifier
Differential Amplifier
Comparator
LVDS output driver
Common threshold
LVDS_out0
LVDS_out7
Ch-0
Ch-7

## Slide 15: Information on FE ASIC
IC Service: Europractice (MPW), Belgium
Service agent: IMEC, Belgium
Foundry: austriamicrosystems
Process: AMSc35b4c3 (0.35um CMOS)
Input dynamic range:18fC – 1.36pC
Input impedance: 45Ω @350MHz
Amplifier gain: 8mV/μA
3-dB Bandwidth: 274MHz
Rise time: 1.2ns
Comparator’s sensitivity: 2mV
LVDS drive: 4mA
Power per channel: < 20mW
Package: CLCC48(48-pin)
Chip area: 13mm2

## Slide 16: Timing devices
ASIC chips
  HPTDC (J.Christiansen, CERN), 32/8 channels, t: 261/64/48/40/17ps
  AMT (Yasuo Arai, KEK), 24 channels, t = 305ps
  3-stage interpolated TDC ASIC
FPGA based solutions
  Vernier TDC
  Differential Delay Line TDC

## Slide 17: TPH monitor module

## Slide 18: Slow control and monitor
Gas system
  Channel on/off
  Flow rate monitors
  On-line gas quality monitors
Magnet
  Ramp up/down
  Monitoring voltages and currents
  Fringe field measurements outside detector

## Slide 19: Back-end issues
VME is the ICAL’s backend
Data collectors and frame transmitters
Global services - trigger, clock etc.
Signal synchronisation and calibration
Computer and data archival
On-line DAQ software
On-line data quality monitors
Networking and security issues
Remote access protocols to detector sub-systems and data
Voice and video communications

## Slide 20: Power supplies
High voltage for RPCs
  Voltage: 10kV (nominal)
  Current: 6mA (approx.)
  Ramp up/down, on/off, monitoring
Low voltage for electronics
  Voltages and current budgets still not available at this time
Commercial and/or semi-commercial solutions
DC-DC and DC-HVDC converters; cost considerations
Modular solutions

## Slide 21: Other critical issues
Development of jigs and testing of various chips
Fabrication, assembly, programming and testing of large number of boards and modules
Connectorisation and cabling
Design and fabrication of back-end crates, controllers
GPS based Real Time Clock (RTC) module for centralised time stamping

## Slide 22: Summary
Massive hunt for a mass-less particle
A basic research project on an unprecedented scale
Healthy collaboration among research institutes, universities and local industries
Gold mine of opportunities for world class science, scientific man power development and strengthening academia-industry relationship

## Slide 23: Summary and future outlook
Almost all the RPC parameters and requirements understood.
Overall electronics and DAQ specifications need to be firmed up.
Design and prototyping of well defined sub-systems is already in progress (eg. FE, TDC, ambient parameter monitors etc.).
Identification of off-the-shelf solutions (data links, power supplies, even some chips) – both from commercial and research groups should be exploited.
Work and responsibilities by the ICAL collaborating institutes and universities.
Roll of electronics industries is crucial:
  Chip fabrication
  Board design, fabrication, assembly and testing
  Slow control and monitoring
  Industries are looking forward to work with INO
Truly exciting and challenging opportunities ahead in VLSI design, system integration, data communication, process control, power supplies, on-line software …

## Slide 24: Data size for triggered scheme
Assuming 8 channel grouping for Trigger and TDC in each RPC
TDC:512nsec range & 100ps resolution, 16Hit
  Start-Stop delay: Pulse width format
  16x2x16x16+16x16(Channel identity)=8192bits+256 (worst case)
Pickup strip Hit pattern (128 bits)
Event arrival time up to 100psec resolution (50bit)
RPC identity (16 bit)
Event identity(32bit)
Packet information(16bit)
Event data per RPC
  Worst case =8192+256+128+50+16+32+16=8690 bits
  Typical case = 512+256+128+50+16+32+16=1010 bits
Total data
  266Mb[16hit TDC] or 31Mb[1 Hit TDC] per event [ All data] or 20% data = 6Mb per event [Non-zero data]
  Assuming 500Hz trigger rate , Total data = 133 Gbps or 15.5 Gbps 0r 3.1Gbps

## Slide 25: Data size for trigger-less scheme
Pickup strip rate estimation
  Assuming Cosmic ray rate of 10K/min/ m2
  For RPC area of 4 m2, Rate is 40K/min
  Pick strip rate = 40K/64=10.4Hz
Pickup signal data
  Signal arrival time-stamp up to 100psec resolution (50bit)
  Pulse width information (10 bit for 100nsec)
  Channel identity(8 bit for 64 in X and Y planes )
  RPC identity (16 bit)
  Packet information(10bit)
  Total = 94 … aprox. 100 bit
Data rate
  RPC data = 10x128x100= 128Kbps
  Detector data = 128Kx30720 = 3.932 Gbps
Trigger rate (Assuming 3/min/m3 of prototype detector)
  Trigger rate for whole detector is 500Hz
Data collection per second is aprox. 2000 Gbps
Conventional Scheme:
  Data collection : 133 Gbps(16hit TDC) or 15.5 Gbps (1Hit TDC) 0r 3.1Gbps(Non-zero data)

## Slide 26: Trigger-less DAQ scheme
Gary Drake & Charlie Nelson
Suitable for low event rate and low background/noise rates
On-off control and Vth control to disable noisy channels

## Slide 27: Implementing trigger-less scheme

## Slide 28: RPC strip rate monitoring
Temperature
Strip noise rate profile
Strip noise rate histogram
Temperature dependence on noise rate

## Slide 29: Signal development in an RPC
  Each primary electron produced in the gas gap starts an avalanche until it hits the electrode.
  Avalanche development is characterized by two gas parameters, Townsend Coefficient (a) and Attachment coefficient (η).
  Average number of electrons produced at a distance x, n(x) = e(a- η)x
  Current signal induced on the electrode, i(t) = Ew • v • e0 • N(t) / Vw, where Ew / Vw = r / (2b + dr).

## Slide 30: Characteristics of RPC pulse