## Slide 1: ICAL Electronics meeting
Hotel Arasan Sapthagiri, Madurai
January 23, 2011

## Slide 2: Last ICAL Electronics meeting
Held at IIT Madras, Chennai
During August 9-11, 2010
Groups attended: IITM, BARC, SINP and TIFR

## Slide 3: To do list – then!
Interconnection between RPC strips and preamp inputs (SINP/TIFR)
Problems with FPGA TDC (Hari, Sudeshna)
Problem with ASIC TDC (3rd stage interpolation, Pooja)
ASIC or FPGA TDC?
If FPGA TDC, can we include all other logic (+ data transmitter) into it?
Can the 8-in-one FE board have TDC as well?
  This automatically means we will have TDC data for all channels.
FE output in LVDS? Depends on above
Power supplies (LV and HV), distribution and monitoring
  Indigenous, commercial, semi-commercial, dc-hvdc (SINP/VECC)
Controller (MSP430 TI chip) and data interface from RPC to the backend (IITM)
  Data interface: Ethernet, fibre, wire-less
Problem regarding FPGA as trigger element (Mandar)
Calibration/synchronisation of global signals and data paths
Backend standard, alternate to VME, Distributed backend?
Trigger system – segmentation (James, Mandar, Sudeshna, Pooja)
Trigger-less system: Any takers, on back foot for now?
Supernova trigger? Proposed by M.V.N.Murthy
Waveform sampler (Nagendra)
GPS based RTC

## Slide 4: Agenda for today’s meeting
Pickup from where we last left!
Try to consolidate at least some areas
Agree to responsibilities and timelines
Form groups and means of communication
Agree on methods and standards
Listen to and discuss any new requirements
Take more (younger) people on board

## Slide 5: ICAL detector and construction
Magnet coils
RPC handling trolleys
Total weight: 50Ktons
4000mm2000mm
56mm low carbon iron sheets

## Slide 6: RPC in the ICAL detector
RPC
Iron absorber
Gas, LV & HV

## Slide 7: Schematic of a basic RPC
Glass or bakelite for electrodes
Special paint mixture for semi-resistive coating
Plastic honey-comb laminations as pick-up panel
Special plastic films for insulation
Avalanche (limited proportional) mode of operation
Standard gas mixture: R134a+Iso-butane+SF6 = 95.5+4.2+0.3

## Slide 8: Honeycomb pickup panel

## Slide 9: Post amplifier RPC pulse profile

## Slide 10: DAQ system requirements
Information to record on trigger
  Strip hit (1-bit resolution)
  Timing (200ps) LC
  Time Over Threshold (for time-walk correction)
Rates
  Individual strip background rates ~300Hz
  Event rate ~10Hz
On-line monitor
  RPC parameters (High voltage, current)
  Ambient parameters (T, P, RH)
  Services, supplies (Gas systems, magnet, low voltage power supplies, thresholds)

## Slide 11: Segmentation of ICAL

## Slide 12: Functional diagram of RPC-DAQ

## Slide 13: Functional diagram of FE ASIC
Amp_out
8:1 Analog Multiplexer
Channel-0
Channel-7
Output Buffer
Regulated Cascode Transimpedance Amplifier
Differential Amplifier
Comparator
LVDS output driver
Regulated Cascode Transimpedance Amplifier
Differential Amplifier
Comparator
LVDS output driver
Common threshold
LVDS_out0
LVDS_out7
Ch-0
Ch-7
V.B.Chandratre, Jan 24

## Slide 14: Features of ICAL FE ASIC
IC Service: Europractice (MPW), Belgium
Service agent: IMEC, Belgium
Foundry: austriamicrosystems
Process: AMSc35b4c3 (0.35um CMOS)
Input dynamic range:18fC – 1.36pC
Input impedance: 45Ω @350MHz
Amplifier gain: 8mV/μA
3-dB Bandwidth: 274MHz
Rise time: 1.2ns
Comparator’s sensitivity: 2mV
LVDS drive: 4mA
Power per channel: < 20mW
Package: CLCC48(48-pin)
Chip area: 13mm2

## Slide 15: Front-end evaluation board

## Slide 16: Scheme of RPC-DAQ controller
James Libby, Jan 24

## Slide 17: Switched Capacitor Array
Shift Register
Clock
IN
Out
“Time stretcher” GHz  MHz
Waveform
stored
Inverter “Domino” ring chain
0.2-2 ns
Stefan Ritt, Paul Scherrer Institute, Switzerland
S.S.Upadhya, Jan 24

## Slide 18: ICAL timing device
Most important component of ICAL electronics, but no clear roadmap yet on this.
ASIC (3-stage interpolation technique) – Pooja
FPGA (Vernier technique) – Hari
FPGA (Differential delay line technique) – Sudeshna
May be we should continue both of the above approaches at least for now
Advantages of FPGA solution
But, do we know any successful deployment of these chips?
V.B.Chandratre, Jan 24

## Slide 19: TPH monitor module
B.Satyanarayana, Jan 24

## Slide 20: Back-end issues
VME is the ICAL’s backend standard
Global services (trigger, clock etc.), calibration
Data collector modules
Computer and data archival
On-line DAQ software
On-line data quality monitors
Networking and security issues
Remote access protocols to detector sub-systems and data
Voice and video communications

## Slide 21: VME Interface Logic
Address
Data
Addr. Modifier
Address
Decoder
Data
Router
FPGA
Front Panel Out
Front Panel In
Piggy Brd Data
Piggy Board ID
LVDS
I/O
Piggy
Board
Conn
Interrupt Gen
And Handler
256
Deep
FIFO
Int1, Int2
Interrupt Ctrl
V
M
E
B
U
S
M.Saraf, Jan 24

## Slide 22: Custom VME Module
VME Interface
Logic
(FPGA)
VME Data
Transceiver
Data Bus
VME Addr
Transceiver
Address Bus
JTAG
FPGA Configuration Logic
On board logic analyser port
VME Control Signals
Buffer
AM, DS, WR, SYSRST, IACK..
Buffer
VME
BUS
LVDS Tx OUT
LVDS Rx IN
Data
Interface for V1495s piggy boards
OE
DIR
OE
DIR
DATCK, IACKOUT, IRQs, BERR
Front panel LEDs
Board Address

## Slide 23: Features of ICAL trigger system
Physicist’s mind decoded!
Autonomous; shares data bus with readout system
Distributed architecture
For ICAL, trigger system is based only on topology of the event; no other measurement data is used
Huge bank of combinatorial circuits
Programmability is the game, FPGAs, ASICs are the players

## Slide 24: Proposed trigger scheme
S.Dasgupta, Jan 24

## Slide 25: Power supplies
High voltage for RPCs
  Voltage: 10kV (nominal)
  Current: 6mA (approx.)
  Ramp up/down, on/off, monitoring
Low voltage for electronics
  Voltages and current budgets still not available at this time
Commercial and/or semi-commercial solutions
DC-DC and DC-HVDC converters; cost considerations
S.Saha, Jan 24

## Slide 26: Cables and interconnects
RPC to front-end boards – the toughest!
  Integration with pickup panel fabrication
Front-end boards to RPC-DAQ board
  LVDS signals
  Channel address
  Analog pulse
  Power
RPC-DAQ boards to trigger sub-systems
  Copper, multi-line, flat cable?
RPC-DAQ boards to back-end
  Master trigger
  Central clock
  Data cable (Ethernet, fibre, …)

## Slide 27: Other critical issues
Power requirement and thermal management
  50mW/channel → 200KW/detector
  Magnet power (500KW?)
  Front-end positioning; use absorber to good use!
  Do we need forced, water cooled ventilation?
  UPS, generator power requirements
Suggested cavern conditions
  Temperature: 20±2oC
  Relative humidity: 50±5%

## Slide 28: Roll of electronics industries
Chip fabrication
Board design, fabrication, assembly and testing
Slow control and monitoring
Industries are looking forward to work with INO

## Slide 29: Data size for triggered scheme
Assuming 8 channel grouping for Trigger and TDC in each RPC
TDC:512nsec range & 100ps resolution, 16Hit
  Start-Stop delay: Pulse width format
  16x2x16x16+16x16(Channel identity)=8192bits+256 (worst case)
Pickup strip Hit pattern (128 bits)
Event arrival time up to 100psec resolution (50bit)
RPC identity (16 bit)
Event identity(32bit)
Packet information(16bit)
Event data per RPC
  Worst case =8192+256+128+50+16+32+16=8690 bits
  Typical case = 512+256+128+50+16+32+16=1010 bits
Total data
  266Mb[16hit TDC] or 31Mb[1 Hit TDC] per event [ All data] or 20% data = 6Mb per event [Non-zero data]
  Assuming 500Hz trigger rate , Total data = 133 Gbps or 15.5 Gbps 0r 3.1Gbps