- BSN

  - Over view of the current thinking of ICAL electronics

  - Triggered and trigger-less schemes

  - Detector segmentation for implementing trigger schemes

  - RPC as the unit of electronics. Data transfer to back-end on optical links

- Prof  Arai:

  - Average cost of electronics per channel:

    - Earlier = $100, LHC = $10

    - Considering a budget of $30M for ICAL electronics, ICAL = $8

  - Trigger-less system preferable, since rates are low

    - Cost of trigger system eliminated.

    - But, time stamping clock (deriving through PLL), data transfer rates to be considered. The detector can be segmented to bring the bandwidth requirements under control.

  - Chip production

    - Fab facilities: No facilities exist in the country for now; they are down for up gradation. We will depend on external fab units.

    - Mode of production: Complete production (for three modules) in one go or one at a time. In the latter case, fab technology might get obsolete. Even chip characteristics could be changed for the same design. We have to decide this considering the fact that the funds may be released separately for module 1 and the other two modules.

    - Same thing applies to FPGA procurement as well.

  - Suggestion to implement TDCs inside FPGAs

    - Can implement TDC on every channel

    - Can achieve 100pS resolution

    - However, needs in-situ calibration. Easier done in the low counting experiment like ICAL.

    - Can build TDC using FPGA and move the design to ASIC after the design is validated.

    - Can pack more TDC channels / chip if we strip of buffers and other logic, not needed for ICAL TDC.

  - AMT

    - 400K channels TDC channels for ATLAS experiment, 20K chips.

    - ATLAS Muon TDC (AMT), built using TMC(Time Memory Cell)

    - Toshiba Gate array logic, mask-> Full custom design

    - $2/channel, 300pS time resolution

  - Optical media should be used to bring in control signals to the front-end in addition using the same for data transfer. But it means we need to have power consuming optical-electrical converters at the front-end

  - Large pitch of pickup panels is limiting the VLSI advantage

  - KEK-INO:

    - Can provide tech consultancy

    - Visits to KEK by students etc

    - Interface to Japanese industry

    - Can provide about 2000 AMTs

  - Technology:

    - Analog: 0.3TSMC

    - Digital: 0.18TSMC

    - Academic Institutions MPW Vdetec Tokyo Univ, KEK involved

    - Rohm, Hitachi, OKI, Motorala etc

    - Welcome to the MPW $1000/design, 20 chips, die 2mm X 2mm

  - SOI

    - Can we ask for our process? Yes

    - Tools, processes, design kits etc being used at KEK

- VBC

  - Design with fast preamp + discriminator + time stamping + control logic – all in one

  - One per channel.

  - Trigger/clock distribution, driving issues, onboard uP!

  - What is the power consumption?

  - On-going work: FE design using 0.35u

  - Free offer to send design in 0.18u and 1.8V swing. Must release the design by April

  - TDC design started 128 cell 2nS Analog memory

  - To Arai san: What is the TDC calibration method? How is the volume production tested?

- SSU

  - Trigger system in triggered architecture

  - Showed recalculated data transfer rates for the trigger-less scheme, manageable

- P.K.Mukhopadhyay

  - Trigger-less system looks promising

  - Calibration of clock and data transfer rates are the considerations

  - What is reality of digital levels contaminating the front-end?

- Electronics lay out options:

  - Pickup signal transmitted through a coax cable to the electronics block (Ajit)

  - Only amp at the front-end

  - Amp + Discr at the front-end

  - TDC and controller on the RPC

- Summary

  - Get design inputs from Simulations, physics and other groups

  - Trigger-less scheme looks attractive

  - HV (if DC-HVDC mounted inside the RPC unit) related noise issues

  - Test and obtain many electronics related inputs (pickup panel characteristics) meanwhile

  - If new front-end (of ICAL design) is available, can immediately test now on 1m X 1m RPCs

  - Data transfer bandwidth can be overcome by reasonably segmenting the detector

  - Will have to detail both the trigger schemes

  - Man power limitations

  - Utililise free chip offer (VBC) and MPW (Arai san)

  - Mount electronics on the side rather than on top of detector (Abe san).

  - BSN: Tried earlier, will have relook