INO prototype detector and data acquisition system
Anita Behere, M.S.Bhatia, V.B.Chandratre, V.M.Datar, P.K.Mukhopadhyay

Bhabha Atomic Research Centre, Mumbai, INDIA

Satyajit Jena

Indian Institute of Technology Bombay, Mumbai, INDIA

Y.P.Viyogi

Institute of Physics, Bhubaneswar, INDIA

Sudeb Bhattacharya, Satyajit Saha

Saha Institute of Nuclear Physics, Kolkata, INDIA

Sarika Bhide, S.D.Kalmani, N.K.Mondal, P.Nagaraj, B.K.Nagesh,

Shobha K. Rao, L.V.Reddy, M.Saraf, B.Satyanarayana, R.R.Shinde,

S.S.Upadhya, P.Verma

Tata Institute of Fundamental Research, Mumbai, INDIA

Saikat Biswas, Subhasish Chattopadhyay, P.R.Sarma

Variable Energy Cyclotron Centre, Kolkata, INDIA

Abstract
India-based Neutrino Observatory (INO) collaboration is proposing to build a 50 kton magnetised iron calorimetric (ICAL) detector in an underground laboratory to be located in South India. Glass Resistive Plate Chambers (RPCs) of about 2m ( 2m in size will be used as active elements for the ICAL detector. As a first step towards building the ICAL detector, a 35 ton prototype of the same is being set up over ground to track cosmic muons. Design and construction details of the prototype detector and its data acquisition system will be discussed. Some of the preliminary results from the detector stack will be also highlighted.
1. Introduction
ICAL is a 50kton magnetised iron tracking calorimeter, comprising of about 140 layers of low carbon 56 mm thick iron plates [1]. Sandwiched between these layers are glass RPCs, which are used as the active detector elements. Lateral dimensions of this cubical geometry detector are 48m ( 16m ( 12m. About 27,000 RPCs of dimensions 2m ( 2m will be deployed in this detector. The geometry and structure of INO magnet is largely fixed by the principle of ICAL detector. Its purpose is two fold; providing target nucleons for neutrino interactions and also a medium in which secondary charged particles can be separated on the basis of their magnetic rigidity. The iron absorber will be magnetised to a strong field of about 1.5Tesla. Some of the primary goals of the ICAL detector are to precisely determine oscillation parameters of the atmospheric neutrinos, to study matter effects on the oscillations and finally to use it as a long baseline detector for the neutrino beams from factories in future. It was proposed that we build on surface a modest 35 ton prototype of the ICAL detector. Experience with the prototype will be very useful in planning for the much bigger ICAL detector.
2. Prototype detector design
The structure of the prototype detector is built in the form of a 13 layer sandwich of 50mm thick low carbon iron (Tata A-grade) plates and 12 glass RPCs of 1m ( 1m in area. Each layer is assembled by joining a ‘T’ and a ‘C’ shaped iron plates. The prototype detector will provide an active volume of about 1m3. The overall design of prototype magnet was kept as close to the conceived design of the full scale INO magnet. As the prototype magnet detects muons, it serves as the medium in which secondary charged particles can be separated on the basis of their magnetic rigidity. The detector is magnetised to 1.5Tesla, which enables momentum measurement of 1-10Gev muons produced by (μ interactions within detector. Four sets of copper coils of 5 turns each, which were made from electrolytic copper conductor tubing having a central bore for flowing low conductivity water, are used for this purpose. The power supply for the magnet coils is a thyristor controlled three phase low voltage constant current type and has a stabilized reference to regulate the current. Shown on the left in Figure 1 is the prototype detector magnet in the assembled state and on the right is its B-H curve [2].
[image: image1.jpg].
150

o ®
100
Current (A)





Figure 1: ICAL prototype detector magnet

RPC gas gaps required for the detector were fabricated using 3mm thick Asahi Float glass sheets procured from the local market [3]. The glass sheets were coated with a semi-resistive paint developed in collaboration with a local paint industry [4]. Polycarbonate buttons, spacers and gas nozzles, which were developed indigenously and fabricated by local industry, were used to assemble the gas gaps. The gaps were fabricated with the help of a pneumatic jig which has ensured that the gap between the glass sheets is uniform throughout gas volume as well as all the joints are glued well. The RPCs are operated in the avalanche mode using a gas mixture of R134:Isobutane:SF6 in the proportion 95.5:5.0:0.5. Plastic honeycomb based panels padded on either side with copper sheets were used for signal pickup as well as for providing rigidity to the assembled chamber. Two panels, each grooved with 30mm signal pickup strips were mounted on either side of the gas gap and orthogonal to each other in order to record particle hit coordinates in a plane. The required field across the glass electrodes was setup by applying a differential high voltage using contacts on the semi-resistive coat. There are 64 signal channels in all to be readout from an RPC – 32 each on either side.
3. Gas mixing and distribution system

A sophisticated gas mixing and distribution system, which works on four different input gases has been designed and fabricated [5].  It features molecular sieve based filter columns on the input gas lines, Nippon Tylan made model FC-760 Mass Flow Controllers to precisely mix the gases to required proportion, Parker made fine filters and on-line moister readout on the mixed gas manifold. Mixed gas flow into 16 pneumatically controlled output channels is controlled by 0.3mm diameter stainless steel capillaries. Each of the output gas channels is equipped with a pair of bubblers, one on the detector input side for protecting the RPC in case of a gas channel block and the other on the output to isolate the chamber from the atmosphere. The gas system also features a facility to add controlled moister into the gas mixture, which is useful while working with the bakelite RPCs. The entire operation of control and monitoring of gas system is controlled by a PC using a dedicated hardware interface. All the input gas channels have been precisely calibrated over their entire dynamic range by water displacement and other methods. Shown in Figure 2 is a front view of the gas system.
[image: image2.jpg].”nglohi.l“

&wu—ﬂ





Figure 2: On-line gas mixing and distribution system
4. Electronics and data acquisition systems

`
As mentioned above, 64 data channels are to be readout from each of the 12 RPCs. Role of the data acquisition system then is to generate the trigger, based on the hit pattern of the RPC pickup strips and to record strip hit patterns as well as timing of individual RPCs with reference to the trigger. Monitoring the stability of the detector as well as laboratory ambient parameters such as temperature, relative humidity and barometric pressure, are the other important tasks of the on-line data acquisition system.
The signal readout chain essentially consists of a front-end fast high gain HMC based preamplifier and low level threshold discriminator followed by the digital front-end. The digital front-end built around a couple of  CPLD chips handles important tasks of  latching the strip hit pattern on master trigger as well as serially transferring the data to back-end. It is also here that the pre-trigger signals are generated, which are used by the back-end trigger module built using combinatorial circuits and produces master trigger. Finally, the digital front-end system also handles the entire signal multiplexing required both during the event data acquisition as well as during strip signal rate monitoring. The timing data is acquired using the commercial TDC modules. The data acquisition is done using a CAMAC backend, employing many custom built modules, such as control and readout modules. The multiplexed signals from the front-end are sent to the back-end through appropriate router modules. Monitoring of strip signal rates is done as a cyclic background job using the scaler module in the back-end. Monitoring of ambient laboratory parameters such as temperature, relative humidity and barometric pressure along with important operating parameters of the RPCs such as high voltage and current is also routinely done and made available on-line on web. Shown in Figure 3 is a schematic of the data acquisition system for the INO prototype detector.
[image: image3.png]\nalog FrontEnd | | Digital Front End

Front End Electronics

Trig & TDC Router
Data Router

Routers

Control Module

ReadOut Module

Trigger Module

TDC Module

Scalar Module

CAMAC Bus

Back End

- @@





Figure 3: Schematic of the data acquisition system for the INO prototype detector
5. Results
Figure 4 is a picture of the stack of 12 RPCs of 1m ( 1m in area, along with the front-end electronics mounted in the racks installed on either side of the stack. The stack is in un-interrupted operation now for about a year and the data is being acquired using the on-line system described above. The recorded data is stored in a customised format by the on-line software and is analysed off-line in detail using sophisticated ROOT based analysis software. Some of the aspects that are analysed on day to day basis are the RPC efficiencies for cosmic ray muons, absolute and relative timing resolutions as well as the stability of RPCs based on the monitoring data of the individual strip rates.
[image: image4.jpg]



Figure 4: Stack of INO prototype detector RPCs 
Timing resolution plots for four individual RPCs is shown in Figure 5. These RPCs show timing resolutions of about 2nSec with reference to scintillator paddle based trigger signal.
[image: image5.jpg]Ru 0315 RPCIG Al

S0,

100}

0315 RPC I0- 1802

b

B

10098 bine

Eun_03is Recig ABoz

0315 meC o

ABO3-

10053 bire.





Figure 5: Time resolution plots of RPCs
Shown in Figure 6 are the strip rate monitor profiles of an RPC. As can be seen from the plots, the noise rates are very stable over the period of monitoring inferring the stability of operation of the RPCs under test.

[image: image6.jpg](R 375 RPC 12 ABVZ Stip: 20





Figure 6: Noise rate monitor profiles of an RPC

6. Conclusions and outlook

Large area RPCs of dimensions 1m ( 1m required for the ICAL prototype detector were successfully developed, built and characterised. They were operated stably in avalanche mode for long period of time without any signs of aging and other problems. Electronics, trigger, data acquisition and monitoring system hardware required to operate the detector has been designed and developed indigenously and commissioned. Necessary data analysis tools have also been developed. The prototype detector magnet has been designed, fabricated, installed and was found to produce the designed field. Final integration of the magnet, the active detector elements and the electronics systems is in progress and we expect to start acquiring the data from the prototype detector soon.
7. References
1. INO Project Report, INO/2006/01, May 2006
2. M.S.Bhatia et al, Fabrication and testing of the magnet of the prototype Iron Calorimetric detector
3. N.K.Mondal et al, Development of glass Resistive Plate Chambers for INO Experiment, This proceedings
4. S.D.Kalmani et al, Development of conductive coated polyester film as RPC electrodes using screen printing, This proceedings
5. P.Verma et al, On-line gas mixing and multi-channel distribution system, This proceedings[image: image7.png]






























